HARCO FITTINGS LLC

Product Catalog & Company Overview

The Harrington Corporation  |  Lynchburg, VA

# Company Overview

The Harrington Corporation, operating as HARCO Fittings LLC, is a manufacturer of gasketed joint injection-molded PVC fittings and push-on gasketed joint ductile iron fittings. Founded in 1966 in Lynchburg, Virginia, HARCO has grown from a single-product ductile iron fitting producer into one of the most comprehensive fitting suppliers in the United States waterworks and irrigation markets.

## Mission

"Our mission is to operate a profitable business by providing exceptional customer satisfaction and constantly improving every aspect of our business." HARCO also competes and grows through innovation, differentiation, and extraordinary service.

## Manufacturing & Distribution

HARCO operates manufacturing facilities in Lynchburg, VA and Janesville, WI. Regional distribution warehouses are located in Winter Haven, FL; Dallas, TX; and Phoenix, AZ — providing next-day or two-day delivery coverage to the majority of the continental United States.

## Markets Served

HARCO products are specified and installed across a broad range of end markets:

| Market | Description |
| --- | --- |
| Agriculture | Irrigation laterals, mainlines, and ag water distribution |
| Drainage | Stormwater management, subsurface drainage, and BMP structures |
| Golf | Turf irrigation, greens drainage, and course water management |
| Industrial | Process piping, facility water supply, and fluid transfer systems |
| Irrigation | Commercial and municipal landscape irrigation infrastructure |
| Municipal | Potable water distribution and wastewater collection |
| Plumbing | Commercial and residential supply and waste systems |
| Utility | Water and gas utility distribution and service line connections |
| Waterworks | Transmission mains, pump stations, and treatment plant piping |

## Contact Information

| Mailing Address | P.O. Box 10335, Lynchburg, VA 24506 |
| --- | --- |
| Phone | (800) 825-7094 / (434) 845-7094 |
| Fax | (800) 825-8562 |
| Email | Sales@harcofittings.com |
| Website | www.harcofittings.com |

# Ductile Iron Fittings

HARCO ductile iron fittings are push-on gasketed joint products conforming to AWWA C110/C153 standards. Available in DIPS and IPS configurations, they are designed for water distribution, sewage, and industrial piping systems.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| DI Push-On Fittings (DIPS) | Gasketed joint ductile iron fittings conforming to AWWA C110/C153. Available in standard configurations including elbows, tees, reducers, and caps. Pressure rated to 350 psi. | Water distribution mains, municipal waterworks, utility infrastructure |
| DI IPS Fittings | Ductile iron fittings in Iron Pipe Size (IPS) for compatibility with steel and ductile iron pipe. Push-on joint design for fast field assembly without mechanical tools. | Industrial pipelines, irrigation mainlines, fire suppression systems |
| DI Nipples | Ductile iron nipples designed to replace brass, galvanized, or black iron nipples. Engineered for corrosion resistance and long service life in air relief, blow-off, and utility applications. | Air relief assemblies, blow-off stations, post-hydrant connections, spray fields |

# PVC Fittings

HARCO's injection-molded PVC fittings are produced to ASTM and AWWA standards. The product line covers pressure, sewer, drainage, and vacuum sewer applications across a broad range of pipe sizes.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| C-900 PVC Pressure Fittings | Gasketed joint PVC pressure fittings conforming to AWWA C900 for use with PVC pressure pipe. Available in standard elbows, tees, and couplings in 4"–12" diameters. | Potable water distribution, municipal waterworks, reclaimed water systems |
| SDR-35 Sewer Fittings | Gasketed PVC sewer fittings per ASTM D3034 in SDR-35 wall thickness. Includes wyes, tees, elbows, and cleanouts. Available in Spanish-language documentation. | Gravity sewer collection, storm drainage, residential lateral connections |
| IPS Vacuum Sewer Fittings | Specialized PVC fittings designed for vacuum sewer systems. Engineered to maintain system integrity under negative pressure conditions in low-lying or coastal applications. | Vacuum sewer systems, coastal developments, areas with high water tables |

# HDPE (Polyethylene) Fittings

HARCO polyethylene fittings support butt fusion, electrofusion, and socket fusion joining methods. The HDPE product line covers both IPS and CTS outside diameter configurations, along with transition fittings.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| Butt Fusion HDPE Fittings | HDPE fittings joined via butt fusion heat welding. Available in male (M) and female (F) configurations. Suitable for large-diameter high-pressure piping where leak-free, monolithic joints are required. | Gas distribution, water transmission mains, industrial process piping |
| Electrofusion Fittings | HDPE couplings and fittings with integrated heating elements for electrofusion jointing. Provides reliable connections in tight spaces or where butt fusion equipment cannot be used. | Service line connections, repair couplings, directional drill applications |
| HDPE Transitions & Adapters | Transition fittings connecting HDPE pipe to ductile iron, PVC, steel, or other pipe materials. Available in IPS-OD and CTS-OD configurations to match existing system requirements. | System tie-ins, material transitions, meter vault connections |

# Philmac PP Compression Fittings

Philmac polypropylene compression fittings provide tool-free connections compatible with multiple pipe materials and OD tolerances. The line covers 3G CTS-OD, IPS-ID, and IPS-OD series for broad system compatibility.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| Philmac 3G CTS-OD Fittings | Third-generation Philmac compression fittings for Copper Tube Size outside diameter pipe. No tools required. Connects PE, PVC, and copper pipe in a single fitting style. | Service line connections, meter sets, residential irrigation, ag water systems |
| Philmac IPS-ID Fittings | Compression fittings sized to Iron Pipe Size inside diameter for compatibility with schedule-rated plastic pipe. Threaded ends available for valve or meter connections. | Agricultural irrigation, rural water supplies, light commercial plumbing |
| Philmac Valves | Ball valves in polypropylene with compression ends for tool-free installation on PE and PVC pipe. Full-bore design for minimal pressure loss. | Irrigation control, service line shutoffs, meter bypass assemblies |

# Joint Restraints & MJ Gaskets

HARCO joint restraint products prevent pipe separation at mechanical joint connections in pressurized systems. MJ gaskets ensure reliable sealing across a range of pipe materials and size tolerances.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| Mechanical Joint Restraints | EBAA-style ductile iron restraint glands for use with AWWA C111 mechanical joint fittings. Rated to match the pressure class of the connected pipe. Available in 4"–24". | Water mains, force mains, valve connections, horizontal directional drilling tie-ins |
| MJ Gaskets — Standard | Standard SBR rubber gaskets for AWWA C111 mechanical joint connections. Compatible with ductile iron, PVC, and HDPE pipe. Available in full size range. | General water and sewer mechanical joint connections, replacement gaskets |
| MJ Gaskets — Special Application | EPDM, neoprene, and wedge-style MJ gaskets for service in reclaimed water, high-chloramine, or high-temperature environments where standard SBR is not suitable. | Reclaimed water systems, industrial effluent, high-chloramine drinking water |

# Valves

HARCO distributes valves for ductile iron, HDPE, and PVC piping systems. Products span gate valves, ball valves, and check valves in sizes suited for municipal, industrial, and irrigation applications.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| Resilient Seat Gate Valves | AWWA C509/C515 resilient wedge gate valves with epoxy-coated ductile iron body. Available in 4"–12" with mechanical joint, flanged, or push-on ends. 200 psi rated. | Water distribution isolation, pump station headers, transmission mains |
| Ball Valves — Ductile Iron | Full-port ductile iron ball valves with AWWA-style mechanical joint ends. Suitable for water and reclaimed water service. Available with manual or gear operator. | Service line isolation, meter vault shutoffs, reclaimed water control points |
| Check Valves | Swing-type and resilient disc check valves for backflow prevention in water and wastewater systems. Ductile iron body with EPDM seating for broad chemical compatibility. | Pump discharge headers, backflow prevention, lift station force mains |

# Drainage Products

HARCO drainage fittings and structures support stormwater management and subsurface drainage for commercial, municipal, and golf course applications. Products comply with ASTM and local standards.

| Product Name | Description | Key Applications |
| --- | --- | --- |
| Drain Basin — Snout Structure | Pre-manufactured PVC drain basin with integrated snout outlet for stormwater quality control. Snout configuration reduces hydrocarbon and floatable debris discharge. | Parking lot runoff, road drainage, stormwater BMP compliance |
| Drain Basin — Weir Structure | PVC drain basin with internal weir for flow control and sediment settling. Modular construction for field-adjustable weir height. | Golf course drainage, turf irrigation runoff, landscape stormwater management |
| IPS Gasketed Drainage Fittings | Gasketed IPS-size PVC fittings for subsurface drainage pipe systems. Pressure- and non-pressure-rated configurations available. Compatible with SDR-18 through SDR-26 pipe. | Subsurface drainage, agricultural tile drainage, golf course greens drainage |

# Resources & Ordering

HARCO provides an extensive library of technical resources and ordering tools at www.harcofittings.com. The following resources are available to customers and specifiers:

| Resource | Description |
| --- | --- |
| Price Lists | Current pricing by product line; downloadable PDF format. Updated periodically. |
| Literature & Spec Sheets | Technical data sheets, installation guides, and product line brochures. |
| Request a Quote | Online quote request form; orders can also be submitted via Purchase Order upload. |
| Find a Sales Rep | Regional sales representative locator with territory maps for all markets. |
| Request a Catalog | Full printed product catalog available on request. |
| Shipment Tracking | Order tracking portal for open and shipped orders. |
| Return Policy / RGAs | Return goods authorization process and return eligibility guidelines. |

For technical questions, specification assistance, or order support, contact the HARCO customer service team at Sales@harcofittings.com or (800) 825-7094.